VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Content

4.2.1 — Introduction

4.2.2 — Summary

4.2.3 — Breakdown of the Lump-sum Price

VOLUME 4.2.1 — INTRODUCTION

1. 	General

1.1	The Breakdown of the Lump-sum Price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This Breakdown of the Lump-sum Price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated: through the measurement of the percentage of works carried out in relation to the firm quantities of each item of the Breakdown of the Lump-sum Price and by applying that percentage to the lump-sum price of the related item>

2.	Specific to Volumes 4.2.2, 4.2.3 and 4.2.4

2.1	The item description given in the Breakdown of the Lump-sum Price in no way limits the Contractor’s obligations under the Contract to provide all the works described elsewhere.

2.2	The prices of the Breakdown of the Lump-sum Price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the Contract. Unless separate items are provided in the Breakdown of the Lump-sum Price, prices include all costs involved in the various items of the Breakdown.

2.3	The prices do not include taxes and fiscal duties, as exoneration is explicitly given for the Contract. Non-exonerated taxes and fiscal duties are, apart from those stated separately in the financial offer templates, covered in the Lump–sum Price of the Contract and in the prices of the Breakdown of the Lump-sum Price.

VOLUME 4.2.2 — SUMMARY

| Description | Amount EUR (VAT excluded) |
| --- | --- |
| Total of lump-sum price (A+B+C+D+E) |  |
| TOTAL PRICE |  |

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

4.2.3.1 A) CONSTRUCTION AND CRAFT WORKS

4.2.3.1.1 Groundwork

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1.1 | Clearing of the field before the beginning of construction work with removing shrubs and weeds and excavation of the surface humus layer thickness of 20 cm for the sidewalk around the object. Total area: 283,14 m2 | LS |  |
| 1.2 | Mechanical excavation of III category soil for lowering the pitch of 30cm compared to level ground floor and foundations. Total volume: 60.00 m3 | LS |  |
| 1.3 | Mechanical excavation the soil for strip foundations with soil dumping next to the object. Total volume of III category soil: 29.93 m3. Total volume of IV and V category soil: 14.97 | LS |  |
| 1.4 | Backfilling and compaction around the foundation walls until full compaction. Total volume : 13,58 m3 | LS |  |
| 1.5 | Supply, filling, spreading and compacting buffer layer of gravel d=10. cm below the fundamental strip, floor boards and under the sidewalk. Bellow the floor plate : 211,52 m2, Below the sidewalk of the object: 73,85 m2 | LS |  |
| 1.6 | Loading, unloading, removal of excess soil the loose condition at distances up to 5 km | LS |  |
|  | Total lump-sum price Groundwork | LS |  |

4.2.3.1.2 Armed concrete – concrete works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 2.1 | Concreting with the armoured concrete floor slab MB 30 d = 20cm. Total volume: 33,66 m3 | LS |  |
| 2.2 | Concreting with the armoured concrete strip foundations, connecting beams and foundation walls with concrete MB 30. Calculation with all necessary formwork. Footings: 28,95 m3, Foundation walls: 26,72 m3 | LS |  |
| 2.3 | Concreting armoured concrete columns and vertical ring beams MB 30. Calculation with necessary formwork, without armour. Total volume: 7,80 m3 | LS |  |
| 2.4 | Concreting of reinforced concrete window lintel and door lintels MB 30. Calculation with no armor plating. Ground floor: 1,48 m3, Floor: 1,47 m3 | LS |  |
| 2.5 | Concreting of reinforced concrete horizontal cerclage in the attic MB30. Calculation with no armor plating. Total volume: 3,59 m3 | LS |  |
| 2.6 | Concreting of reinforced concrete interfloors ceiling. MB30 full plate d = 18cm. Calculation with plating and supporting. Total volume 78.5 m3 | LS |  |
| 2.7 | Concreting of armoured concrete slab of staircase MB20 according to project: asope plates, pedestals, suitable beams and footings. Main entrance staircase to the first floor: 2,45m3, Staircase to the apartments: 1,85 m3, Staircase with footings in the ground: 0.95 m3 | LS |  |
| 2.8 | Concreting the sidewalks with non-reinforced concrete dp = 10 cm over a layer of gravel, in the slope of the building towards the ground. Calculation with irrigation expansion of hot bitumen and necessary formwork. Total surface: 56.25 m2 | LS |  |
|  | Total lump-sum price Armed concrete – concrete works | LS |  |

4.2.3.1.3 Reinforcement Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 3.1 | Supply, cutting, bending and placing reinforcement of various profiles (built-in reinforcement all in accordance with the static calculation) Total weight 19 200 kg. | LS |  |
|  | Total lump-sum price Reinforcement Works | LS |  |

4.2.3.1.4 Building Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 4.1 | Masonry the ground floor, first floor and ceiling Brick dz = 25 cm, in lime mortar 1: 2: 6. Calculation together with the necessary scaffolding. Ground floor: 20,73 m3, First floor: 37,35 m3, Ceiling: 13,88 m3 | LS |  |
| 4.2 | Interior masonry walls with brick ground and first floors of the lime mortar 1: 2: 6, dz = 25cm. Calculation together with the necessary scaffolding. Ground floor: 26.74 m3, First floor: 35.25 m3 | LS |  |
| 4.3 | Building internal partition walls of bricks dz = 12cm in cement mortar 1: 3. Calculation together with the necessary formwork and scaffolding. Ground floor: 11,06 m2, First floor: 43,33 m2 | LS |  |
| 4.4 | Masonry outer curtain wall of bricks dz = 12cm in lime mortar 1: 3. Window lintels and door lintels make with the brick on the edge with the height of two rows. Every 60 cm set in plaster reinforcement Ø6 and cramps galvanized wire Ø 4 connect with the inner wall. Calculation with the necessary scaffolding. Ground floor: 182.53 m2, Floor: 159.92 m2, Attic: 71.04 m2 | LS |  |
| 4.5 | Masonry chimney and vents. Chimney substation 20/20: 10.20 m1 Ventilation channel in toilets: 13.60 m1 Chimney in the classrooms: 12.40 m1 | LS |  |
| 4.6 | Plastering interior wall and ceiling surfaces with lime mortar 1: 2: 6. The concrete surface prior to spray cement milk. Calculation with scaffolding. Ceilings: Ground floor: 177.30 m2 Floor: 174.30 m2 Walls: Ground floor: 332.15 m2 Floor: 372.99 m2 | LS |  |
| 4.7 | Cement mortar application d = 2,5-3cm as a smoothing layer over concrete slabs or as a protective layer over the insulating layer of the plates “Vunizol”. Ground floor: 177.38 m2, Floor: 174.30 m2, Attic: 187.00 m2 | LS |  |
| 4.8 | Supply and installation of 6 concrete chimney door. | LS |  |
|  | Total lump-sum price Building Works | LS |  |

4.2.3.1.5 Insulation Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 5.1 | Making horizontal and vertical waterproofing walls and floors the ground floor of one of the cold coating by bitumen, 2 layers of tar paper, and three coats of hot bitumen. Horizontal insulation: 177.38 m2 Vertical waterproofing foundation walls: 92.83 m2 | LS |  |
| 5.2 | Development of insulation toilets on the floor as described in Item V / 1. Around the walls do plinth height x = 20cm. Calculation with a plinth not calculated separately. Total surface: 20,04 m2 | LS |  |
| 5.3 | Placing insulation on the floor with a hot and semi hot coating over concrete slabs. Semi-hard slab of rock wool with specific weight 130 kg/m3 d = 5,0cm set up in the premises under wooden floors and floors of “Laminate Flooring" with the layer of PVC foil as the vapor barrier. The ground floor: 102.00 m2 Flooring floors: 120,77 m2 Attic: 187.00 m2 | LS |  |
| 5.4 | Setting thermal insulation d = 5,0 cm on the facade walls in the form of semi-hard insulation boards made ​​of rock wool with specific weight 130 kg/m3 “Vunizol” with the layer of PVC foil as the vapor barrier. Ground floor: 152.96 m2 Floor: 159,92 m2 Attic: 71,04 m2 | LS |  |
|  | Total lump-sum price Insulation Works | LS |  |

4.2.3.1.6 Carpentry Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 6.1 | Carpentry works - wooden roof structure with a chair 14/14, 14/20 corneas, struts 12/14 and 14/10 horns. Board setting over horns with boards d= 24 mm, installation of tar paper and set the bars for covering roof tiles. Calculation per m2 horizontal projection of the roof: (19,0 x 13,0 ) = 247,00 m2 | LS |  |
|  | Total lump-sum price Carpentry Works | LS |  |

4.2.3.1.7 Covering Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 7.1 | Roof covering single curved roof tiles. Due to the large slope and climatic conditions, each tile fixed with galvanized wire to lath. Calculation per m2 slanting roof surface: 154,40 m2 | LS |  |
| 7.2 | Covering slanted weir and ridge with ridges and each tied with galvanized wire for construction and pour lime mortar. Compile process. The calculation of the m1 slanted hump:[(7,4 х 4) + 6.60] = 36,20 m1 | LS |  |
|  | Total lump-sum price Covering Works | LS |  |

4.2.3.1.8 Joinery

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 8.1 | Design and installation of wooden windows to the scheme. The windows are made of oak timber. Thermal insulation glass composed of two GSOC d = 4mm, and between the edge of the strip is al slat. The wood is protected by protective coatings and colour oar in colour of natural wood. Calculation with complete works performed as described positions. Position 1 110/230: 12 pieces Position 1a 110/230: 1 piece Position 2 140/140: 4 pieces Position 3 110/140: 7 pieces Position 4 110/120: 2 pieces Position 5 110/60: 1 piece | LS |  |
| 8.2 | Fabrication and installation of single wooden entrance door solid wood from pine timber, with the light of all according to the given scheme. The doors are set in box-jamb width of the wall. The fittings are made of dark metal. The wood is protected by protective coatings and colour oar in colour of natural wood. Position A 110/320: 2 pieces Position B 110/250: 1 piece | LS |  |
| 8.3 | Design and installation of single wooden interior doors, double plywood with infill panel boards, all in accordance with the given scheme. The doors are set in box-jamb width of the wall. The wood is protected by protective coatings and colour oar in colour of natural wood Position С 101/205: 1 piece Position B 91/205: 2 pieces Position Е 81/205: 12 pieces | LS |  |
| 8.4 | Fabrication and installation of single wooden interior doors, double plywood with infill panel boards, all in accordance with the given scheme. The doors are set in box-jamb width of the wall. The wood is protected by protective coatings and colour white oar. Position F 71/205: 4 pieces | LS |  |
|  | Total lump-sum price Joinery | LS |  |

4.2.3.1.9 Ceramic Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 9.1 | Supply and installation of ceramic wall tiles 20x20cm bonding, the first class of domestic production, coloured according to the agreement with the designer. Total surface: 103,67 m2 | LS |  |
| 9.2 | Supply and installation of floor tiles 20x20cm in cement mortar. Total: 66,02 m2 | LS |  |
|  | Total lump-sum price Ceramic Works | LS |  |

4.2.3.1.10 Terrazzo Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 10.1 | Creating a floor poured terrazzo of ground marble colours and sized by the designer. All around the walls to give a border in the colour chosen by the designer. Terrazzo poured on the surface of cement mortar in 1: 3 with thickness of 2 - 3 cm. Surface levelled and then rub to the shine. Total area: 77,16 m2 | LS |  |
| 10.2 | Processing of external entrance steps to the first floor poured terrazzo floors. The stairs are exposed to external influences and terrazzo are not polished. Total area: 19,65 m2 | LS |  |
| 10.3 | Processing of input landings and stairs to the ground floor entrance poured terrazzo floors. Surfaces are exposed to external influences and terrazzo are not polished. Total area: 4,83 m2 | LS |  |
|  | Total lump-sum price Terrazzo Works | LS |  |

4.2.3.1.11 Painting Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 11.1 | Staining with plastering wall and ceiling surfaces with fasting acrylic paint on the ground floor and first floor.. Total area: 85,18 m2 | LS |  |
| 11.2 | Staining with plastering wall and ceiling surfaces with policolour the ground floor and first floor. Ground floor: 425,09 m2 Floor: 596,52 m2 | LS |  |
|  | Total lump-sum price Painting Works | LS |  |

4.2.3.1.12 Facade Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 12.1 | Making "bavalit" decorative transparent facade of stair rails, facades of vent channels of chimney and over the sprayed lime cement mortar. Concrete surfaces prior pour with cement milk. Finishing with the vertical scraped surface structurally similar to the bark of oak Calculation with the necessary scaffolding. Ground floor: 63.57 m2 Roof: 13.68 m2 | LS |  |
|  | Total lump-sum price Facade Works | LS |  |

4.2.3.1.13 Tinsmith Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 13.1 | Production and installation of hanging gutters from galvanized sheet d = 0.6 mm. Gutter is set of decline by 0.5-1.0% drain gutter pipes. Dimensions hung gutters ø18,5 cm. Total length: 64,00 m1 | LS |  |
| 13.2 | Production and assembly of vertical drainage gutter pipe smoke. ø12 galvanized sheet d = 0.6 mm. Tube placed at a distance 2cm from the wall at every 2.0 m to determine of mass of the wall by iron clamps. Total length: 45,91 m1 | LS |  |
| 13.3 | Flashing chimney in the roof with zinc d = 0.6 mm full width of about 60cm. Flashing is done on the vertical sides chimney wall and parts of the roof area around the chimney. Total length: 6,28 m1 | LS |  |
|  | Total lump-sum price Tinsmith Works | LS |  |

4.2.3.1.14 Various Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 14.1 | Supply and installation of "strip flooring" from sized planed oak planks with tongue and groove at the touch of over under-flooring. The floor is coated with a protective coating and twice coloured with transparent matte. Total area: 38,60 m2 | LS |  |
| 14.2 | Setting semi-warm floor of laminate first class in various colours with the designer, on the surface of the cement screed laid over the insulating layer plates. Total area: 166,60 m2 | LS |  |
| 14.3 | Dry installation of green gypsum cardboard walls for toilets d = 1,25cm + 7,5cm + 1,25cm with a steel substructure. Height of the walls is h = 2,20 m, that could entry to ventilate. Total area: 32,56 m2 | LS |  |
| 14.4 | Dry mounting a partition wall between the floor toilets and apartment A2 and the artition wall between the toilets on the ground floor. Green gypsum wall thickness increased dimensions 5 cm + 7,5 cm + 5 cm with a steel substructure. It is necessary to satisfy the acoustics of 42 decibels. Total area: 22,12 m2 | LS |  |
| 14.5 | Development of stair railing for the front steps towards for the apartments and the main entrance. The fence is a wall of bricks on edge of grid increments in agreement with the designer in lime mortar 1: 2: 6. The final is sprayed with lime mortar and mixture. Total length: 17,71 m1 | LS |  |
| 14.6 | Final cleaning of all rooms of the object. Total area: 351,68 m2 | LS |  |
| 14.7 | Various unforeseen works, "patching" after some subsequent papers. | LS |  |
|  | Total lump-sum price Various Works | LS |  |

A) Summary of the Construction and Craft Works

| No. | Description | Lump-sum price EUR |
| --- | --- | --- |
| 1 | GROUNDWORK |  |
| 2 | ARMED CONCRETE – CONCRETE WORKS |  |
| 3 | REINFORCEMENT WORKS |  |
| 4 | BUILDING WORKS |  |
| 5 | INSULATION WORKS |  |
| 6 | CARPENTRY WORKS |  |
| 7 | COVERING WORKS |  |
| 8 | JOINERY |  |
| 9 | CERAMIC WORKS |  |
| 10 | TERRAZZO WORKS |  |
| 11 | PAINTING WORKS |  |
| 12 | FACADE WORKS |  |
| 13 | TINSMITH WORKS |  |
| 14 | VARIOUS WORKS |  |
| (A) SUMMARY OF THE CONSTRUCTION AND CRAFT WORKS |  |

4.2.3.2 B) ELECTRICAL INSTALLATIONS

4.2.3.2.1 Electrical Installation of Strong Currents

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1.1 | Delivery and installation to the nearest N.N. column of el. network with clip with the grappling hook and fastening self-supporting supply cable for connecting the school to the electric distribution network. | LS |  |
| 1.2 | Delivery and installation of the grappling hook for mounting self-supporting supply cable on the facade of the building for connecting the school to the electric distribution network. | LS |  |
| 1.3 | Delivery and tightening self-supporting supply cable from the nearest network pillar to main distribution box GRO, type X00-A 4x16 mm. with connecting at both ends. Cable from entering the building to the main distribution box placed in PVC pipe ø5Omm. Total length: 40 m | LS |  |
| 1.4 | Supply and installation of the wall of the main distribution board GRO made ​​of double pickled sheet thickness of 2 mm with a door that has a cylinder lock with key and shackle padlock, protected from corrosion by double coating anticorrosive paint and painted with gray enamel finish, degree of protection IP 44th. The board should have enough space to install all the equipment for measuring the consumed electric. energy, security, protection and control of the main power supply lines and all necessary supplies and small equipment (terminal blocks, cable lugs, name tags, conductors) required to connect, wiring and installation of board and equipment, all in accordance to unipolar timing scheme of distribution box GRO : 1 pcs. - The main three-pole two position (1-0) rotary cam switch 40 A, similar to the type 4G40-10-In 2 pcs. - Three-phase, two-rate el. meter 3 x 230/400 V, 50 Hz, 10-40 A 1 pcs. - Set of network frequency tone controls (ICC), 10 A, 250 V 2 pcs. - Circuit breaker, etc... type MC32 / 6 A 6 pcs. - Automatic circuit-limiter etc... type C / 25 A 3 pcs. - Fusible EC 25/16 A 9 pcs. - Fusible EC 25/20 A 1 pcs. - Indicator lamp 5 W, 220 V, signalling higher tariffs 1 pcs. - Other unspecified materials required for installation and connection boxes and equipment, and more | LS |  |
| 1.5 | Supply and installation of complete board with equipotential bonding SIP (single potential ground) electrode of the Cu strips 30x5x650 mm with a minimum of 8 holes for the screws N10. The kit box with terminal block for potential equalization is placed in the facade of the building at the site indicated in the drawing. | LS |  |

| 1.6 | Supply and laying the cable in the wall under the plaster etc... type PP00-Y intersection 1x16 mm2 and making connections between the main distribution board GRO and buss equipotentialing SIP. Total length: 5m | LS |  |
| --- | --- | --- | --- |
| 1.7 | Supply and fixing distribution board RO-1 made ​​of double pickled sheet thickness of 2 mm with a door that has a cylinder lock with a key made ​​of double pickled sheet thickness of 2 mm of corrosion-resistant with double coat anticorrosive paint and painted with gray enamel light, degree of protection IP 44. Distribution board is built with the following equipment: 1pcs.-tripolar, two position rotary cam switch 16 A,250 V 1 pcs. - residual current protective switch FID 25 / 0.5A 3 pcs. - a set of circuit breakers - fuses, MC32 / 10A 3 pcs. - a set of circuit breakers - fuses, MC32 / 16A 3 pcs. - a set of circuit breakers - fuses, MC32 / 10 A (reserve) 3 pcs. - a set of circuit breakers - fuses, MC32 / 16 A (reserve) Copper busbars, terminals, nameplate Other materials required for completion. Total for labor, materials and transport. | LS |  |
| 1.8 | Supply and fixing a distribution board RO-2, made of double pickled sheet thickness of 2 mm with a door that has a cylinder lock with a key made ​​of double pickled sheet hickness of 2 mm of corrosion-resistant with double coat anticorrosive paint and painted with gray enamel light, degree of protection IP 44.Distribution board is built with the following equipment: 1 pcs. -triple, two position rotary cam switch 25A, 250V 1 pcs. - Residual current protective switch FID 25 / 0.5A 3 pcs. - a set of circuit breakers - fuses, MC32 / 10A 16 pcs. - a set of circuit breakers - fuses, MC32 / 16A 3 pcs. - a set of circuit breakers - fuses, MC32 / 16A (reserve) Copper busbars, terminals, nameplates. Other materials required for completion. Total for labor, materials and transport. | LS |  |

| 1.9 | Supply and fixing an distribution board RO-K made ​​of double pickled sheet thickness of 2 mm with a door that has a cylinder lock with a key made ​​of double pickled sheet thickness of 2 mm of corrosion-resistant with double coat anticorrosive paint and painted with gray enamel light, degree of protection IP 44. Switch cabinet with the fitted equipment: 1 pcs. triple two position switch, similar to a type 4G25-10-In 2 pcs. unipolar two position switch, etc.. 4G10-90-type In 2 pcs. automatic contactor switch load current up to 10 A, similar to CNM9 type 2 pcs. bimetal similar type TRM 12, with the control (0.4-0.63) A 10 pcs. fuse bases EZ 25 with soluble inserts to unipolar scheme RO-TP 3 pcs. warning lamp-red lamp 2 pcs. signal lamp 5 W, 220 V 12 pcs. green terminal block VS 2.5 mm 5 pcs. Cu busbar 20 x 3 mm Other materials required for completion. Total for labor, materials and transport. | LS |  |
| --- | --- | --- | --- |
| 1.10 | Complete distribution board RT-Pr. made of self-extinguishing material resistant to shocks with a protective cover, the protection of IP-43, typed, placed above the entrance door to the apartment A1. Switchboard is made from unipolar scheme and all the equipment on board is marked clearly and durably marked. When wiring junction table to take care of a balanced load phases. Switchboard is built with the following equipment: 1 pcs. - Residual current protective switch FID 25 / 0.5A 12 pcs. - A set of circuit breakers - fuses, MC32 different rated currents (10A and 16A) to unipolar scheme: 1 pc. electric bell (buzzer, 250 V, 2 A 1 pc. warning lamp 5 W, 250 V (signaling rates) Copper busbars, terminals, nameplates - other supplies needed to complete. | LS |  |
| 1.11 | Complete distribution board RT-A2.made of self-extinguishing material resistant to shocks with a protective cover, the protection of IP-43, typed, placed above the entrance door to the apartment A2 at the place indicated in the drawing. Switchboard is made from unipolar scheme and all the equipment on board is marked clearly and durably. When wiring junction table to take care of a balanced load phases. Switchboard is built with the following equipment: 1 pcs. - housing 1 pcs. - residual current protective switch FID 25 / 0.5A 11 pcs.- a set of circuit breakers - fuses, MC32 different rated currents (10A and 16A) to unipolar scheme: 1 pcs. electric bell (buzzer, 250 V, 2 A 1 pcs. warning lamp 5 W, 250 V (signalling rates) Copper busbars, terminals, nameplates - other supplies needed to complete. | LS |  |

| 1.12 | Supply and laying in the wall under the plaster of PVC plumbing pipe ø36 mm, cable similar type PP00-Y, 1KV, section 5x4 mm2 and the creation of complete installation of supply lines from GRO to distribution boards RO-1 and RO-2 and room RT and RT-A1-A2.Complete with making all connections in the GRO and cubicles and tables. Total length: 50 m | LS |  |
| --- | --- | --- | --- |
| 1.13 | Supply and laying in the wall under the plaster of PVC plumbing pipe ø16 mm, cable similar type PP00-Y, 1KV, section 5x2.5 mm2 and creation of complete installation of the supply line from the RO-2 to distribution board RO-K. Complete with making all connections in the GRO and cubicles and tables. Total length: 10m | LS |  |
| 1.14 | Supply and laying in the wall under the plaster of PVC plumbing pipe ø16 mm, cable etc... similar type PP00, 1KV, section 3x1.5 mm2 and creation of complete installation of signal lines from GRO to distribution boards RO-1 and RO-2. Complete with making all connections in the GRO and cubicles. Total length: 20m | LS |  |
| 1.15 | Supply and laying on wall bake lite cable clips similar type PPOO, 1KV, 3x1.5 mm2 cross section and making the supply line for el. motor pumps of the RO-K to the installation of the pump. Complete with connection on both ends. Total length: 12m | LS |  |
| 1.16 | Supply and laying in the wall under the plaster of PVC plumbing pipe ø16 mm, cable similar type PP00,1KV, section 5x1,5 mm2 and creation of complete installation command signal lines from GRO to distribution boards RT and RT-A1-A2. Complete with making all connections in the GRO and the boards. Total length: 30m | LS |  |
| 1.17 | Supply and laying of wall and ceiling plaster below, cable similar type PP-Y-section 3.4 mm2 and 5x1,5 and creation of complete installation of the lamp with the purchase and installation of appropriate installation switches (plain, serial or alternating) 10 A, 250 V, all junction boxes for installation in a wall and making all connections . Lamp-place finish topped E-27 bulb of 60 W and hooks for hanging the lamp at places where it is not designed lamp. The average length is 8 m. Total pieces: 54 | LS |  |
| 1.18 | Same as previous position, place a lamp without a switch (on via a switch in the indicator box). Total pieces:2 | LS |  |
| 1.19 | Same as position 17, a connector for the fan in the bathroom without a switch (on via a switch in the indicator box). Total pieces: 2 | LS |  |
| 1.20 | Material delivery and complete installation for lights antipanic water light PP00-Y 3x1.5 mm2, on the wall and ceiling, under the plaster , apart from other installations at least 5 cm from the distribution board, inside the red-colored. The average length is 12 m. Total pieces: 7 | LS |  |

| 1.21 | Supply and laying in the wall under the plaster, cable similar type PP-sectional 2x1,5 mm2 and creation of complete installation of electrical bell with the purchase and installation of a white bakelite key 6A, 250V with embossed bell mark, electric bell for wall mounting 220 V and making all connections. The average length is 5 m. | LS |  |
| --- | --- | --- | --- |
| 1.22 | Supply and laying in the wall under the plaster, cable similar type PP-Y section 3x2.5 mm2 and creation of complete installation of single phase socket, supply and installation of the corresponding single-phase socket with protective contact in protecting IP20,10 / 16 A, 250 V, distribution boards, all for installation in a wall and making all connections A port is set to 0.4m from the finished floor. The average length is 8 m. Total pieces: 12 | LS |  |
| 1.23 | Same as previous position with only duplicate installation of single phase power sockets to protect IP20,10 / 16 A, 250 V. Total pieces: 2 | LS |  |
| 1.24 | Same as previous position only single-phase socket with protective contact with IP43 protection 10/16 A, 250 V, in protective housing with cover everything for installation in a wall and making all connections. A port is set to 0.4m from the finished floor. The average length is 10 m. Total pieces: 20 | LS |  |
| 1.25 | Supply and laying in the wall under the plaster, cable similar type PP-Y section 3x2.5 mm2 and creation of complete installation of supply lines to the boiler in the kitchen as well as an excerpt from the free wall length of 0.8 m with the purchase and installation of,, statue "switch 16 A, 250 V. The average length is 10 m. Total pieces: 2 | LS |  |
| 1.26 | Supply and laying in the wall under the plaster, cable similar type PP-Y section 3x2.5 mm2 and creation of complete installation of supply lines for water heater and an electric heater in the bathroom as well as an excerpt from the free wall length of 0.8 m without purchasing and installing a switch (on via a switch in the indicator box). The average length is 10 m. Total pieces: 4 | LS |  |
| 1.27 | Supply and laying in the wall under the plaster, cable similar type PP-Y section 5x2.5 mm2 and creation of complete installation of water supply for three phase socket, of the supply and installation of three-pole contact block with 5 contacts, 10 / 16A.380V for installation in a wall and making all the necessary connections. The average length is 12 m. Total pieces: 2 | LS |  |
| 1.28 | Same as position 24, only a three-phase socket with protective contact with IP43 protection 10/16 A, 380 V, in protective housing with cover everything for installation in a wall and making all connections. A port is set to 1.0m from the finished floor. The average length is 10 m. Total pieces: 2 | LS |  |

| 1.29 | Deliver and mount kit equipped with incandescent lamps: - Decorative ceiling lamp, the figure marked with P1, at the option of investors, with three bulb up to 60 W, throat E-27 and accessories for mounting on the ceiling of protection IP20. Total pieces: 2 - Decorative ceiling lamp, the figure marked with P2, at the option of investors, with a single lamp up to 60 W, throat E-27 and accessories for mounting on the ceiling of protection IP20. Total pieces: 4 - Waterproof rights ceiling lamp with opal white glass bulb to 60W, sealing gum, throat E-27 and accessories for ceiling mounting, IP43 protection in the drawing marked with,, SA-15 ". Total pieces:15 - Waterproof hair wall lamp with opal white glass bulb to 60W, sealing gum, throat E-27 and accessories for wall mounting, with IP43 protection on the drawing marked with,, ZA-5 ". Total pieces:5 | LS |  |
| --- | --- | --- | --- |
| 1.30 | Deliver and mount kit equipped with a fluorescent lamp with 4 pcs. in fluorescent tubes of 18 W in the protection of IP20, with all the necessary equipment for connectivity and installation and spare parts offered by the manufacturer. Total pieces: 14 | LS |  |
| 1.31 | Deliver and mount kit equipped with a fluorescent lamp with 2 pcs. in fluorescent tubes of 36 W in the protection of IP20, with all the necessary equipment to connect the assembly and spare parts provided by the manufacturer. Total pieces:12 | LS |  |
| 1.32 | Deliver and mount kit equipped with a fluorescent lamp 1 pcs. in fluorescent tubes of 36 W in the protection of IP20, with all the necessary equipment for connection and installation and spare parts provided by the manufacturer. Total pieces: 2 | LS |  |
| 1.33 | Supply and installation of lights with antipanic light, 1x8 W, with housing, protective glass, with mounting over lamps mounted red ^ nom tape or labels "EXIT" signs or arrows, with their own power source NiCad battery for 6-hour operation , for which the producers obtain a certificate from the competent institution, which assesses the technical accuracy of the product quality. Total pieces: 7 | LS |  |
| 1.34 | Material delivery and complete installation for potential equalization in the sanitary area with ​​water PY 1x6 mm2 (PY 1x4 mm2), passed in the wall under the plaster, starting from the ground rail of the corresponding RT to PS49 boxes in the bathroom and continue until all the metal masses by appropriate clamps and cable lugs. The average length of lines per sanitary node is 20 m. Total pieces: 6 | LS |  |
| 1.35 | Deliver and install a complete box bonding conductors for installation in a wall, a similar type as PS 49 and make all the connections. Total pieces: 6 | LS |  |
|  | Total lump-sum price Electrical Installation of Strong Currents | LS |  |

4.2.3.2.2 Telephone Installation

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 2.1 | Deliver and set up a telephone closet concentration of RO-T on the floor of the building, according to the graphic documentation for mounting to the wall. Telephone closet is made of double pickled steel with door, lock and key and built-in equipment as follows: 1 pcs. - a classic phone lattices - regleta of 10x2 Other materials, if necessary. All cables from the telephone closet to the telephone connections should be soldered with telephone regleta. Telephone closet is similar to the type RO-1. The price includes the introduction of cables and summer, the processing installation of lines and spraying the bolt, testing and marking of RO-T. Grounding cabinet made ​​under existing regulations. | LS |  |
| 2.2 | Delivery and installation of the wall in PVC plumbing pipes ø 13.5 mm, installation cable similar type Ti44 2 x 0,6 mm and creation of complete installation of a telephone connection with making all the necessary connections. The average length of the supply line on a telephone in the 15m. Total pieces: 3 | LS |  |
| 2.3 | Supply and installation of wall PVC junction box, telephone jacks with an ordinary three-pin connector and two micro-connect port connecting to a telephone line. Total pieces: 3 | LS |  |
|  | Total lump-sum price Telephone Installation | LS |  |

4.2.3.2.3 Lighting Conductor Installation

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 3.1 | Taking the first steel-galvanized strip FeZn 25x4 mm for reinforcement foundations of the building and tying reinforcement at every 1 - 2 m, the required number of certificates for fire descents, gutter line and the SIP. Total length: 60m | LS |  |
| 3.2 | Supply and laying of steel-galvanized strip FeZn 20x3 mm in appropriate lightning Aid (JUS.N.B4.920, 922 and 925) on the roof and chimneys, as well as connecting all metal mass of the roof over the corresponding terminals, connectors, riveting or brazing. Total length: 40m | LS |  |
| 3.3 | Supply and laying of steel-galvanized strip FeZn 20x3 mm, as drain that lowers beneath the facade cladding in PVC to the existing drain that lowers. Total length: 20m | LS |  |
| 3.4 | Supply and installation of lightning protection support the roof and chimneys, as follows: - JUS N.B4.920. Pcs. 50 - JUS N.B4.922. Pcs. 8 - JUS N.B4.925. Pcs. 2 | LS |  |
| 3.5 | Delivery and installation on the facade of the building at a height of 1.6-1.7 m measuring coupling JUS.N.B4.932 in the housing of the measuring circuit JUS.N.B4.912. Total pieces: 3 | LS |  |
| 3.6 | Supply and installation of gutter pieces JUS.N.B4.936 to connect Fe / Zn strip with tape. Total pieces: 7 | LS |  |
| 3.7 | Supply and installation of decorative pieces JUS.N.B4.936 to connect Fe / Zn tape with the tape in the housing KUK molded with melted bitumen. Total pieces: 8 | LS |  |
| 3.8 | Supply and installation of terminals for connection strips and horizontal gutters and sheet through lead washers, type JUS N.B4. 908th. Total pieces: 5 |  |  |
| 3.9 | Delivery and installation clips for gutters, liaison strips and vertical gutters, through clips for gutter, type JUS.N.B4.914. Total pieces: 4 | LS |  |
| 3.10 | Measurement of transient resistance thorough grounding to the issuance of certificates, as well as measuring the impact of lightning resistance. | LS |  |
|  | Total lump-sum price Lighting Conductor Installation | LS |  |

4.2.3.2.4 Electrical Installation Final Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 3.1 | Protection against electric shock, including measures space in a protection barriers, enclosures, barriers or placing equipment out of reach | LS |  |
| 3.2 | Measures of protection against fire spread and influence of the thermal conductor to permanently permissible values ​​of current and allowable voltage drop | LS |  |
| 3.3 | Choice and setting of protective devices and monitoring devices | LS |  |
| 3.4 | Regularity of the placement of switching devices in terms of separating spaces; | LS |  |
| 3.5 | Selection of equipment and protective measures to external influences; | LS |  |
| 3.6 | Recognition of neutral and protective conductor; | LS |  |
| 3.7 | The presence of schema, table with warnings or similar information; | LS |  |
| 3.8 | Recognition circuits, fuses, switches, terminals and other equipment; |  |  |
| 3.9 | Connecting the cables; | LS |  |
| 3.10 | Accessibility and availability of space for operation and maintenance. General tests must be performed in the following order: 1. Continuity of protective conductors, main and supplementary equipotential bonding conductors; 2. Insulation resistance of electrical insulation; 3. Protection of electrical separation of circuits; 4. The resistance of the floor and walls; 5. The functionality |  |  |
|  | Total lump-sum price Electrical Installation Final Works | LS |  |

B) Summary of the Electrical Installation

| No. | Description | Lump-sum price EUR |
| --- | --- | --- |
| 1 | ELECTRICAL INSTALLATION OF STRONG CURRENTS |  |
| 2 | TELEPHONE INSTALLATION |  |
| 3 | LIGHTING INSTALLATION |  |
| 4 | ELECTRICAL INSTALLATION FINAL WORKS |  |
| (B) SUMMARY OF THE ELECTRICAL INSTALLATION |  |

4.2.3.3 C) WATER AND SEWERAGE SYSTEMS

4.2.3.3.1 Water system

4.2.3.3.1.1 Earthworks

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1.1.1 | Mechanical digging a trench in the soli of category III, for setting water supply network. Excavation carried out according to the project and given elevations. The sides properly cut and the bottom leveled. The cost of excavation includes the trench shoring and security. Excavated soil to reject of the trench. Upon completion of the works the land filled up and compacted in layers. Excess land converted carriage filled up and leveled ground or load the truck and drive to the city dump. Total volume: 4 m3 | LS |  |
| 1.1.2 | Mechanical digging, Category III soil, the water sump. Excavation carried out under the project. The sides properly cut, a bottom leveled. Excavated land convert with carriage filled up and level the ground and load onto a truck and take to a city landfill. Total volume: 2 m3 | LS |  |
| 1.1.3 | Pumping water from the trench. Water that occurs in the trench get out manually or by pumps. Total length 10m | LS |  |
| 1.1.4 | Planning the bottom of the trench. All surfaces rough and fine plan with +/- accuracy of 3 cm. The price also includes filling and compaction, or removal of the country and export to the construction site landfill. Total planned area: 7 m2 | LS |  |
| 1.1.5 | Supply and filling of sand in the trench for the water supply network. Under and over laid pipes pour sand. Particular attention paid to the reclamation of sand around the pipe. Sand pour and carefully compact in layers, with wooden rammer. Total volume of compacted sand: 4 m3 | LS |  |
| 1.1.6 | Procurement, transport, spreading in layers, tamping and fine planning gravel. Gravel fill of the predicted layer and the shove, to the required density. Total volume of compacted gravel: 4.5 m3 | LS |  |
| 1.1.7 | Masonry of manhole for water meter with inner dimensions 0.8/0.8/1.6m, full brick d=25.0, in cement mortar 1:3. Before placing the bricks wet with water. When masonry every 30 cm install climbers. At the top of the manhole end stepwise, for the acceptance of cover over the concrete AB plate. Upon completion of the masonry joints clean them to a depth of 2 cm. The price includes AB plates, climbers and extra scaffolding. Total volume: 1.02 m3 | LS |  |
| 1.1.8 | Supply and installation of cast iron cover with frame for shaft diameter 50 cm weight 25 kg. The cover set to the manhole water meter. The cover set in the ground level. | LS |  |
|  | Total lump-sum price Earthworks | LS |  |

4.2.3.3.1.2 Installation Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1.2.1 | Supply and installation of plastic plumbing pipe and fittings. calculation by m, and the diameter Ø 5/4 " Total length: 19.3 m | LS |  |
| 1.2.2 | Supply and installation of plastic plumbing pipe and fittings. calculation by m, and the diameter Ø 1/2 ". Total length: 30m | LS |  |
| 1.2.3 | Supply and installation of flat gate valve with a diameter of 1/2 "with a protective chrome cap and rosette. When installing the valves ensure that the rosette of the valves are completely flat with the final surface of the wall. The valve must have a certificate. Total pieces of valves: 10 | LS |  |
| 1.2.4 | Supply and installation of angle stop valve for urinal, diameter of 1/2 " with the handle. During the installation of the valve make sure that the wheel of valve is in the proper distance from the final surface of the wall and to get access to the valve and connecting the urinal and placing rosettes. The valve must have a certificate. Total pieces of valves: 2 | LS |  |
| 1.2.5 | Supply and installation of angle stop valve for toilet tank, diameter of 1/2 "x1 / 2", with handles and a chrome tube length l = 270 mm. When installing valve ensure that the wheel of valve is in the proper distance from the final surface of the wall and to get access to the valve and connecting the urinal and placing rosettes. The valve must have a certificate. Total pieces of valves: 6 | LS |  |
| 1.2.6 | Supply and installation of the safety valve of the boiler. Safety valve place in front of the boiler. The valve must have a certificate. Total pieces of valves: 4 | LS |  |
| 1.2.7 | Supply and installation of home multi-jet, propeller water meter for cold water with a diameter of 1/2 ", with wet mechanism, "INSA" Beograd. Maximum water temperature up to +40 C, the nominal pressure NP10 Class A. Set and two straight leaky valves, one of which has a drain tap and appropriate fitting. Total pieces of water meter: 1 | LS |  |
| 1.2.8 | Testing the water supply network in the test pressure, the greater then 3 bars of the working bars, or a minimum of 10 bar, the facility surfaces up to 100 m2. Upon completion of the installation of the water supply network all the pouring seal with the caps. Place the hydraulic pump, fill the installation with water, drop out the air and reach test pressure. The network must be under pressure of at least 24 hours. If the pressure drops, find the place of failure, remove and put the installation under test pressure. Testing performed by the obligatory presence of the supervisory authorities and authorized persons, and for that make a particular record. | LS |  |
| 1.2.9 | Development of water supply connection, for the building area of ​​100 m2. Develop a complete connection from the street pipe to the water meter, with setting "clout". The place and pipe of connection according to “Earth and installation works” are calculated through previous positions. | LS |  |
|  | Total lump-sum price Installation Works | LS |  |

4.2.3.3.1.3 Sanitary Appliances and Accessories

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1.3.1 | Supply and installation of a set of sinks, ceramic, dim. 60x40 cm, domestic production I class. The sink attach to the wall with appropriate anchors and brass screws via a pad of rubber. The sink connect to a drain with chrome trap diameter 5/4 "with a rosette, cap and chain. Set up a tap for hot and cold water. In addition to sink set shelves, soap holder and towel holder. Sink and equipment ordered by the designer. Dimensions of 60x40 cm, standing, with battery. Total pieces: 7 | LS |  |
| 1.3.2 | Supply and installation of complete toilet, type Simplon, domestic production I class. Compound toilet with sewage network do with "genz" and appropriate kit to be round seals 100%. Cup with rubber pads attached with brass screws. Enameled water tank set up with puller. With the water supply network connect over chrome valves and high-quality hose, and a toilet with the pipe and rubber cuff. Place the lid for a toilet of MDFor wood. Cup and equipment ordered by the designer. Total Simplon Pieces: 6 | LS |  |
| 1.3.3 | Supply and installation of complete bidet toilet, domestic production I class. Bidet toilet attach with brass screws over rubber pads. Place the drain with stopper and chain. Place the complete fittings for hot and cold water. In addition with bidet toilet to be delivered soap holders and towel. Bidet toilet and equipment ordered by the choice of designer. Total pieces of bidet toilet kit: 2 | LS |  |
| 1.3.4 | Supply and installation of ceramic wall urinal. The urinal attach over rubber pads with appropriate anchors and brass screws. Place chrome-pass valve and siphon. Total pieces of urinals: 2 | LS |  |
| 1.3.5 | Supply and installation of complete acrylic bathtubs, length 120 cm, domestic production I class. Bathtubs set up and connect to the drain trap diameter of 5/4 " with overflow, plug and chain. Total Pieces 2 | LS |  |
| 1.3.6 | Supply and installation of wall chrome battery in a tub shower, for hot and cold water. Between the wall and the battery place the rosettes. On the wall, set a fixed shower holder. Battery set up carefully so that it does not damage the chrome. Total pieces of battery: 2 | LS |  |
| 1.3.7 | Supply and installation of drain valve with a diameter of 1/2 ", with butterfly handle for cold water. Between the wall and the tap set the rosette. Tap set up carefully so that it does not damage. Total piece of valves: 7 | LS |  |
| 1.3.8 | Supply and installation of complete chrome accessory for the bathroom, by the choice of the designer. The kit has two soap holders, two towel holders, two holders with four glasses, handrail. Total pieces of equipment: 5 | LS |  |
| 1.3.9 | Supply and installation of wall mirrors. Total pieces mounted mirror along with the necessary wiring material: 7 | LS |  |
| 1.3.10 | Supply and installation of a two-part sink, length 60 cm, with hull of stainless steel. Sink choice by the designer. Total pieces of sink: 2 | LS |  |
| 1.3.11 | Supply and installation of wall chrome battery for a sink, with movable spout under the battery, for hot and cold water. Between the wall and the battery place the rosettes. Battery carefully set, so that the chrome does not damage. Total pieces of battery. | LS |  |
| 1.3.12 | Supply and installation of flow boiler, 5-liter. Boiler set up and connect to the electricity. Total pieces of boiler: 2 | LS |  |
| 1.3.13 | Supply and installation of electric boilers, 50 litter, choice by the designer. With the boiler supply and set up safety valve and chrome tubing for connection. Boiler set up and connect to the electricity supply. Total pieces of boiler: 2 | LS |  |
| 1.3.14 | Supply and installation of chrome grid, size 15x15 cm, choice by the designer. Total piece of grid: 7 | LS |  |
| 1.3.15 | Supply and installation of chrome audit, with the door, next to the tub. Total piece of audits: 2 | LS |  |
|  | Total lump-sum price Sanitary Appliances and Accessories | LS |  |

4.2.3.3.2 Sewage

4.2.3.3.2.1 Construction Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 2.1.1 | Mechanical digging a trench in the III category soil, for setting sewerage network, the depth up to 2.0 m. Excavation carried out according to the project and given elevations. The sides properly cut, a bottom leveled. The price includes excavation and shoring and security trench. Excavated soil throw away from the trench. After completion of the works the soil should be filled up and compacted in layers. Spare soil convert with carriage fill up and level the ground or load on a truck and take to the city dump. Total volume of soil, measured overgrown:22 m3. Depths up to 2.0 m | LS |  |
| 2.1.2 | Mechanical digging, III soil category, for sewer manhole. Excavation carried out under the project. The sides properly cut, a bottom leveled. Excavated land convert with carriage fill up and level the ground or load on a truck and take to the city dump. Total volume of soil, measured overgrown: 9m3 - Septic tank. | LS |  |
| 2.1.3 | Pumping water from the trench. Water that appears in the trenches take out manually or by pumps. Total length of the trench: 39 m | LS |  |
| 2.1.4 | Supply and filling of sand in the trench for the sewer network. Under and over laid pipes pour sand. Paid the particular attention to the reclamation of sand around the pipe. Pour out the sand and carefully compact in layers with wooden rammer. Total volume of compacted sand: 6 m3 | LS |  |
| 2.1.5 | Reclamation of soil - Soil backfilled in layers of 20 cm wet with water and stick to the required density. For road use land deposited during the excavation. Total volume of soil, measured overgrown: 28 m3 | LS |  |
| 2.1.6 | Masonry of septic tanks with full brick, thickness of 25 cm, in cement mortar. Before placing the bricks, wet them with water. Upon the completion of the masonry joints clean to a depth of 2 cm. The price includes and extra scaffolding. Total volume of: 5.30 m3 | LS |  |
| 2.1.7 | Construction of reinforced concrete septic tanks, concrete brand MB 25. Make the payment and pit reinforced by the details of the static calculation. Leave an opening and make cover for the pit. Concrete installed and cared for by the regulations. The price also includes payment, fitting, creepers and extra scaffolding. Total volume of the walls of the pit: 4.40 m3 | LS |  |
|  | Total lump-sum price Construction Works | LS |  |

4.2.3.3.2.2 Installation Works

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 2.2.1 | Supply and installation of plastic sewer pipes and fitting pieces calculation by the m, according to: diameter Ø 70 m 20 x diameter Ø 100 m 60 x diameter Ø 150 m 39 x | LS |  |
| 2.2.2 | Supply and installation of ventilation head of galvanized sheet d = 0.55. Total pieces of diameter Ø 100: 4 | LS |  |
| 2.2.3 | Testing of sewer networks, objects of up to 100 m2. In agreement with the designer should investigate the entire network or piece by piece. Sealing the holes, except for height highest and network filled with water. Under the given pressure to hold the network at least three hours. Review and all of to cure mark. Drain water and all defects rectified. Repeat the test. Perform testing by the obligatory presence of supervisory authorities and the authorized person and about that make special record. Total area: Up to 300 m2 | LS |  |
| 2.2.4 | Making connections to the sewerage system, the property surfaces up to 100 m2. On the outside sewer pipes make a connection by the project. Total area: Up to 300 m2. | LS |  |
|  | Total lump-sum price Installation Works | LS |  |

C) Summary of Water and Sewerage Works

| No. | Description | Lump-sum price EUR |
| --- | --- | --- |
| 1 | WATER SUPPLY WORKS |  |
| 1.1 | EARTHWORKS |  |
| 1.2 | INSTALLATION WORKS |  |
| 1.3 | SANITARY APPLIANCES WORKS |  |
| 2 | SEWAGE |  |
| 2.1 | CONSTRUCTION WORKS |  |
| 2.2 | INSTALLATION WORKS |  |
| (C) SUMMARY OF WATER AND SEWERAGE WORKS |  |

4.2.3.4 D) INSTALLATION OF FIRE DETECTION SYSTEM

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1 | Procurement, deliverance, assemblage, and linkage of addressable microprocessor-controlled modular switchboard for automatic fire signalization, 2 addressable loops, max. 127 addressable elements per loop, max. 96 zones, control keyboard , 320/240 touch screen display, system managing through password secured menus, 4 programmable relays, interfaces: TCP/IP, RS485, event memory, parameterization, calibration, addressing and programing with the software, external printer installation ability, graphic monitoring and system managing through a PC ability and ability of interaction with other systems of technical protection as well as supervision and management on the same computer using specific software, ability of network connection with other switchboards (max. 31 switchboards at one network). A: The equipment contains a document on conformity to SRPS EN 54-1 and SRPS EN 60896-11:2010. In the switchboard’s locker it is envisaged a 24 V battery for continuous power supply, with power ability up to 72 hours. Altogether with the executive module. | LS |  |
| 2 | Procurement, deliverance, assemblage and linkage of automatic addressable optic fire detectors, integrated loop isolator, automatic adaptation on environment conditions, integrated event counter (alarms, errors, and working time). Standard pedestal for automatic addressable fire detector. Standard tile for marking of automatic addressable fire detector. The equipment contains a document on conformity to SRPS EN 54-7:2008. Total pieces: 10 | LS |  |
| 3 | The same as the item 2, but with thermic fire detectors with a document on conformity to SRPS EN 54-7:2008. Total pieces: 4 | LS |  |
| 4 | Procurement, deliverance, assemblage and linkage of manual addressable fire detector, integrated loop isolator. Casing of manual addressable fire detector, red. The equipment contains a document on conformity to SRPS EN 54-11:2008/A1:2008 and SRPS EN 54-17:2008 for loop isolator. Total pieces: 5 | LS |  |
| 5 | Procurement, deliverance, assemblage and linkage of alarm siren, 32 programmable tones, volume of 105 dB/1m, red. The equipment contains a document on conformity to SRPS EN 54- Total pieces: 3 |  |  |
| 6 | Procurement, deliverance, assemblage and linkage of conductors JH(St)H FE180/E90 2x2x0.8 mm for fire protection installations. The installations are laid in the wall of the facility underneath the concrete through the protective ribbed tubes. Cables contains a document on conformity to DIN 4102T12 and IEC 60331 Total length 220 m. |  |  |

| 7 | Deliverance of the material and closing of cable breakthroughs between two fire protected sectors, fire resistant mass PROPOM, produced by “VEX” Zemun that contains report on the control of conformity No. GFT-357/06 issued by “IMS” Institute from Belgrade. Total weight: 5 kg. | LS |  |
| --- | --- | --- | --- |
| 8 | Deliverance and laying of power cable from distribution cabinet to PPC- cable NXHHX 3x1.5 mm2 in the wall underneath the concrete. Cables contain a document on conformity to DIN 4102T 12 and IEC 60331 Total length: 12 m. | LS |  |
| 9 | Telephone alert of alarm condition P-VOX. | LS |  |
| 10 | Programming, adjustment, functional checking in accordance with SRPS IEC 60364-6, putting into operation, training for users, delivery of Instruction manuals | LS |  |
| 11 | Developing of project of performed object and complete attests | LS |  |
|  | Total lump-sum price Installation Of Fire Detection System | LS |  |

D) Summary of the Installation of Fire Detection System

| No. | Description | Lump-sum price EUR |
| --- | --- | --- |
| 1 | INSTALLATION OF FIRE DETECTION SYSTEM |  |
| (D) SUMMARY OF THE INSTALLATION OF FIRE DETECTION SYSTEM |  |

4.2.3.5 E) FIRE PROTECTION SYSTEM (MOBILE EQUIPMENT)

| Item | Description | Unit (Lump-sum) | Lump-sum price EUR |
| --- | --- | --- | --- |
| 1 | Procurement of 4 fire extinguisher S-9 type | LS |  |
| 2 | Procurement of fire extinguisher CO2-5 type | LS |  |
| 3 | Procurement and installation of hydrant cabinet | LS |  |
| 4 | Procurement and installation of outer hydrant NO 80 | LS |  |
|  | Total lump-sum price Fire Protection System (Mobile Equipment) | LS |  |

E) Summary of the Fire Protection System (Mobile Equipment) works

| No. | Description | Lump-sum price EUR |
| --- | --- | --- |
| 1 | FIRE PROTECTION SYSTEM (MOBILE EQUIPMENT) |  |
| (E) SUMMARY OF THE FIRE PROTECTION SYSTEM (MOBILE EQUIPMENT) WORKS |  |